PRICE-RESPONSIVE LOAD PROGRAMS

October 1, 2002

Introduction

## As part of its effort to implement the FERC Standard Market Design, ISO-NE and NEPOOL have proposed four Demand Response programs for 2003. These are:

## Day-Ahead Demand Response Program (DADRP),

## Real-Time Demand Response Program (RTDRP, an “Emergency” DR program),

## Real-Time Price Response (which is based on the current Class 2 program), and

## Real-Time Profiled Response (for customers without interval meters).

Based on discussions at previous NEDRI meetings and feedback from market participants at the NEDRI/FERC Focus Group, the NEDRI Technical Team recommends that NEDRI participants endorse Program Strategies for a day-ahead energy market (#PRL-1), a real-time, “emergency resources” DR program (#PRL-2), and retail delivery of the ISO-NE Price Responsive Load Programs (#PM-1).  The NEDRI Technical Team further recommends that NEDRI participants urge ISO-NE to consider and FERC to approve these Program Strategies as the basis for creating a more sustainable and vibrant demand response capability in the New England region.

These Program Strategies incorporate “best practices” and reflect input from customers, demand-side service providers, policymakers, and suppliers.   The NEDRI Technical Team believes that these Program Strategies balance and help achieve the following objectives:  (1) meet ISO-NE needs for system reliability and effective wholesale electricity markets, (2) encourage participation by Load Serving Entities (LSEs) and Demand Response Providers (DRPs) in order to facilitate greater competition in wholesale markets, (3) are more attractive to customers and accelerate the development of a robust and sustainable demand response capability, and (4) reflect the current relatively immature state of development of the demand response market and which may change over time as the demand response market matures.  Appendix A provides summary tables that compares DR programs proposed by ISO-NE, the program design strategy proposed by NEDRI, and for comparison, the current DR programs offered by the NYISO.

## Program Strategy #PRL-1

Day-Ahead Demand Response Program (DADRP)

The Day Ahead Demand Response Program (DADRP) enables electricity end-users to offer load reduction bids into the day-ahead wholesale energy market a day in advance, in direct competition with supply bids.  These load reduction bids would be fully integrated into the scheduling and settlement processes of ISO-NE, and can set the day-ahead zonal electricity price just as would a comparably bid generator.

Program Duration: The DADRP program would begin upon the implementation of Standard Market Design or during 2003, whichever comes first. The DADRP program would be authorized for three years, with annual program modifications, as necessary.  ISO-NE may request program continuation of the program from FERC, including any changes determined to be necessary for 2005 and beyond.

[Comment – will encourage greater market entry by LSEs and DRP; encourage more investment in DR enabling technologies by customers and LSEs and DRP]

Criteria for Eligible Participants: Individual end-users may participate in the program through a Load Serving Entity (LSE) – e.g. the customer’s utility under Default or Standard Offer Service or competitive retail energy suppliers – or Demand Response Providers (e.g., third party providers that offer load response services but are not the customer’s LSE).  LSE and DRP must be NEPOOL Participants and NEPOOL should create a “special” membership status category for DRP that requires either no or a very nominal registration fee (e.g. $500).

[Comment – encourage greater entry by DRP by relaxing NEPOOL participation requirements which involve substantial costs

Question to NEDRI participants:  Should individual end users be allowed to participate directly in the DADRP?]

End-User Requirements: The minimum aggregated bid size is 1 MW. All participants must have interval meters capable of recording hourly, integrated electricity consumption (for load curtailments) or net electricity generation (for onsite generation).   Participants may provide this load reduction through any combination of load curtailment and operation of onsite generation.  All participants utilizing onsite generation must comply with local, state, and federal environmental permitting requirements. The NEDRI stakeholders recommend that state environmental regulators consider adopting a technology-neutral, output-based emissions rule for new, smaller-scale electric generating resources (i.e. distributed generation).  A “model rule” based on this approach has been developed by a national stakeholder group and Regulatory Assistance Project (RAP) under a DOE-funded project from the National Renewable Energy Laboratory (NREL).

[Question to NEDRI Participants: 1) Discuss suitability of proposed “model rule”; 2) discuss treatment of existing on-site generators – particularly diesel-fired back-up generators; 3) discuss ISO role/requirements in this area vs. responsibilities/role of state/local air regulators]

Bidding Process: The participant submits day-ahead bids indicating their load reduction amount (MW), bid price ($/MWh), and the contiguous period over which the load reduction will be provided – i.e., a load reduction strip.  Participants may also include in their bids a curtailment initiation (i.e., start-up) cost and a minimum run-time.  Bids may be made for any load reduction amount above the 1 MW minimum – i.e., bids are not required to be in any particular increment.  The minimum bid price for any hour is $50/MWh.

[Comment – allow for LSEs and DRP to bid their fixed start-up costs and NOT be REQUIRED TO BID in WHOLE MW INCREMENTS]

Customer Baseline Load (CBL): Participants may choose to adopt either a standard or a temperature-sensitive baseline methodology.  Both options are based on an average of interval data over the designated timeframe.  The baseline is developed as hourly averages of interval load data over the last ten (10) business days excluding response days.

[Question for NEDRI Participants – do you want to  discuss baseline issues and approaches for on-site generation under different metering configurations?]

Compensation: Customers whose bids are accepted and scheduled in the day-ahead market are paid for their load reductions, adjusted to account for losses, based on the higher of the day-ahead market-clearing zonal electricity price or their accepted bid price.

Penalties: Any difference between the customer’s actual load reduction and their scheduled load reduction is settled at the zonal real time price.

Participation in Other Demand Response Programs: Customers may also participate in the Real-Time, “Emergency” Demand Response Program.  In the event that such a participant has a load reduction bid accepted into the day-ahead schedule, payment for that load reduction will be made through the DADRP.

[Comment– allow participants more flexibility to be in both Day-ahead and Emergency program]

ICAP Credit:  Participants in the DADRP are eligible to qualify for ICAP credit.

Program Strategy #PRL-2

Real-Time, “Emergency”
 Demand Response Program (RTDRP)

The Real-Time, “Emergency” Demand Response Program (RT-EDRP) provides the ISO/RTO with a demand response resource to dispatch during periods of capacity deficiency or system emergency.  The goal of the program is to create a demand response resource equal to at least ~3% of peak demand. The program is a short notice program relying on the ability of customers to voluntarily reduce demand for short time periods in exchange for compensation.

Program Duration: The program would begin with the implementation of Standard Market Design or summer 2003 , whichever comes first. The RT-EDRP program would be authorized for three years, with annual program modifications, as necessary. ISO-NE may request that the program be continued from FERC, including any changes determined to be necessary for 2005 and beyond.

Criteria for Eligible Participants:  Individual end-users may participate in the program either directly or through a Load Serving Entity (LSE) – e.g. the customer’s utility under Default or Standard Offer Service or competitive retail energy suppliers – or Demand Response Provider (e.g., third party providers that offer load response services but are not the customer’s LSE).  LSE and DRP must be NEPOOL Participants and NEPOOL should create a “special” membership status category for DRP that requires either no or a very nominal registration fee (e.g. $500).

End-User Requirements: The minimum aggregated bid size is 100 kW. All participants must have interval meters capable of recording hourly, integrated electricity consumption (for load curtailments) or net electricity generation (for onsite generation).  Participants may provide this load reduction through any combination of load curtailment and operation of onsite generation. All participants utilizing onsite generation must comply with local, state, and federal environmental permitting requirements. The NEDRI stakeholders recommend that state environmental regulators consider adopting a technology-neutral, output-based emissions rule for new, smaller-scale electric generating resources (i.e. distributed generation).  A “model rule” based on this approach has been developed by a national stakeholder group and Regulatory Assistance Project (RAP) under a DOE-funded project from the National Renewable Energy Laboratory (NREL).

[Question to NEDRI Participants: 1) Discuss suitability of proposed “model rule” for an emergency DR program; discuss 2) discuss treatment of Existing on-site generators 3) ISO role/requirements in this area vs. responsibilities of state/local air regulators]

Advance Notice: Customers may elect to participate in one of two program options, based on the advance notice they require before implementing a load reduction: a 30-minute option and a 2-hour option.

Compensation: Participants that perform during emergency program events are paid for their actual load reductions based on the higher of the hourly real time zonal electricity price or an established floor price.  For the 30-minute advance notice option, the floor price is $500/MWh; for the 2-hour option, it is $350/MWh.  Performance is measured on an hourly basis.  Participants in the RT-EDRP are eligible to receive ICAP credit.

[Comment – higher minimum floor prices are needed to attract customer interest and participation during an “emergency” type situation]

Customer Baseline Load (CBL): Participants may choose to adopt either a standard or a temperature-sensitive baseline methodology.  Both options are based on an average of interval data over the designated timeframe.  The baseline is developed as hourly averages of interval load data over the last ten (10) business days excluding response days.

Penalties: Participation in an “emergency” demand response event is voluntary; thus, no penalties are assessed if a participant fails to reduce their load by their subscribed amount.  However, participants who simultaneously receive ICAP credit for their load reduction capability may be subject to non-compliance penalties if they do not fulfill their ICAP obligation.

[Question to NEDRI Participants – Discuss ISO-NE’s proposed approach as alternative, which is participation in an RTDRP event is mandatory and deviations between actual response resource’s ICAP credit will affect the ICAP credit received by the resource.  There is no financial penalty based on the real-time zonal price]

Participation in Other Demand Response Programs: Customers are also eligible to participate in the Day-Ahead Demand Response Program.  In the event that such a participant has a load reduction bid accepted into the day-ahead schedule, payment for that load reduction will be made through the DADRP.

ICAP Credit: Participants in the RT-EDRP are eligible to receive ICAP credits.

Program Operation/Activation: The program is activated as part of Operating Procedure No. 4 (OP4). In event of system reserve shortfall or deficiency, participants can either be dispatched on a system-wide or zonal basis.  In addition, to ensure that RTDRP resources called are limited to the amount expected to be needed to address the reserve shortfall, participants within a zone can be assigned to Curtailment  Blocks by the ISO.

Program Strategy PM-1

Retail Delivery of the ISO Price-Responsive Load Programs

This strategy consists of the actions and policies necessary at retail to effect delivery of the ISO’s Day-Ahead and Real-Time (Emergency) Demand Response Programs.

Delivery Mechanisms.  Load Serving Entities (LSEs), competitive retail electric service providers (ESP), and Demand Response Providers (DRPs) may enroll customers.  The terms of the agreement are negotiated, are part of a standard product or products, or, in the case of regulated monopolies and default service providers (DSPs), are determined by PUC-approved tariffs or special contracts. LSEs and DRPs are notified by the ISO when interruptions are needed, and they in turn notify the customer. The ISO makes payments directly to LSEs and DRPs, who in turn pay the consumer for load reductions provided when called upon.

Compensation. Compensation to LSEs and DRPs may take any of several forms.  Typically, the ISO payment is shared between the LSE or DRP and the customer.  If sharing is the only means by which payment is made, it must be sufficient to induce the desired behavior by the customer and cover the costs (including profit) incurred by the LSE/DRP to provide the service. In Connecticut, there is no sharing, but the DSPs  (the distribution utilities) are compensated for their program administration and marketing costs in part with monies from the state’s system benefits fund. The sharing ratios (where provided by DSPs or regulated monopolies) in three states are currently as follows:

|  | Customer | Default Service Provider | Other |
| --- | --- | --- | --- |
| NY | 90% | 10% | NA |
| VT | 70% | 30% | NA |
| CT | 100% | 0% | Some System Benefit funds for DSP admin/mkting |

There are policy and market implications to the question of how the ISO payments are shared between customers and providers. In the case of competitive providers, the sharing percentages will be determined in the market -- by the price negotiated or offered through a standard product or contract (i.e., the provider’s share will be the margin between the price paid to the customer and the price paid by the ISO).  In the case of regulated monopolies and DSPs, the sharing will be determined by the PUC, taking into account traditional regulatory concerns – equity, efficiency, cost-allocation, and revenue collection.

Issue 1: Regulated pass-through of DR program payments: The ratio set by the PUC for regulated entities effectively determine the margins available to competitive Demand Response Providers and others who wish to market the ISO programs in those areas.  The level of the utility/DSP share is a prime determinant of whether other providers will be able to enter those markets. A mandated, full (or nearly full) pass-through of the benefits to customers will inhibit competitive entry.

Issue 2: Reliance on DR program payments alone: Full cost recovery through sharing alone may be problematic if wholesale prices are low and there are too few curtailments to generate revenue sufficient to cover the direct costs of providing the program. To deal with this problem, some programs provide additional, basic support from system benefit funds or wires company revenues. While alternative funding through distribution rates or from system benefits charges will provide some stability of revenues for providers, it may also inhibit development of the retail market if just regulated DSPs, but not competitors, have access to those monies.  This problem can be addressed by providing support equally to all enrolled participants or their DR service providers. The following graph illustrates the trade-offs of various approaches to compensation.

| Compensation Method | SBC Funding or Covered in Rates | Sharing Allocation (Customer – LSE) | Impact on Competitive Market |
| --- | --- | --- | --- |
| Alternative A | All admin. & Marketing Costs | 100-0% | Inhibits competition because DRP and competitive ESP cannot cover costs or earn profits |
| Alternative B | Some Admin & Marketing Costs | 90-10% | DRP and competitive ESP will be able to compete at best in limited circumstances |
| Alternative C | No Admin. or Marketing Costs | 70-30% | More opportunities for DRP and ESP but reduced revenue stream during periods of low market prices |

We recommend that state PUCs permit regulated DSPs and monopolies to retain up to 30% of the ISO payments. This should, in most cases, provide enough cash to cover DSP costs and yield a profit.  This sharing will act as a de facto maximum for the market.  If DRPs can do better, they will capture more of the market and force DSPs to either reduce their share of the payments or cease providing the service.  To the extent that the ISO payments include ICAP credits or reservation payments (which extend over a period of time), the revenue stability problem can be mitigated to some degree.

Other Regulatory Requirements.  Regulatory oversight for transactions between customers and competitive providers is minimal or not required at all.  The transactions are between willing parties, and they may (depending on state law and how the transaction is structured) not be subject to the jurisdiction of state utility regulators.  Moreover, the activity should not affect the relationship between the customer and the regulated distribution company, except insofar as the LSE/DRP requires access to customer billing and related information.  Protocols for providing that information – with the express permission of the customer – can be easily developed, while preserving the full range of consumer protections.

However, insofar as the programs are marketed by utilities and DSPs – i.e., regulated entities – it is important that the programs be developed and filed for approval with sufficient lead time allow them to be properly reviewed and approved.

Eligibility.  There are eligibility criteria for both customers and providers.

Retail Customers.  Customer eligibility is defined in the strategy options for the “emergency” and day-ahead demand response programs.  Distributed and self-generation resources and direct-serve customers are not eligible to provide load reductions under alternative performance measures. The aggregations must be at least 0.1 MW for the emergency program and 1.0 MW for the day ahead.

Providers.  A variety of providers may market these programs: the customer’s load serving entity (e.g., vertically integrated monopoly, default service provider, competitive retail electric service provider) or a third-party Demand Response Provider (DRP) that is not a LSE (e.g., ESCO, vendor).  State law will determine whether DRPs need to be certified by PUCs in order to provide service.

Programs can be crafted or modified to deal with localized distribution capacity constraints The DSP may augment the offering by the ISO in local areas where demand response will provide distribution capacity relief in addition to generation

Appendix A: Comparison of Program Strategies for Day-Ahead Energy Market and “Emergency Resources”: Current NYISO program, proposed ISO-NE programs, and NEDRI

Appendix A includes two summary tables that compare the designs of a day-ahead demand response program (Table 1) and “emergency resources” DR program (Table 2).

Table 1: Comparison of Day Ahead Demand Response Program Designs.

| Feature | NYISO (current) | ISO-NE (2003 proposed) | NEDRI Technical Team (proposed) |
| --- | --- | --- | --- |
| Program Duration | Incentive provision expires Oct. 31, 2004 a | From “as soon as practicable” through 2004 | 3 yrs, starting w/ SMD or 2003, whichever comes first |
| Eligible Participants | Host LSEs only in 2001, 2002; non-host LSEs and non-commodity providers in 2003 b | Exploring limited membership provisions for Demand Response Providers (i.e., non-LSE aggregators) | LSEs and Demand Response Providers; “special” or limited membership provisions available with no or nominal registration fee |
| Bid Parameters | Load reduction amount (MW), period, operating cost ($/MWh), start-up cost ($), minimum run time | Load reduction amount (MW), period, operating cost ($/MWh), start-up cost ($), minimum run time | Load reduction amount (MW), period, operating cost ($/MWh), start-up cost ($), minimum run time |
| Bid Requirements | 1 MW blocks (even increments only); $50/MWh minimum bid | 1 MW blocks (even increments only); $50/MWh minimum bid, $500/MWh maximum bid | 1 MW minimum aggregation; no limit on bid increments; $50/MWh minimum bid |
| Onsite Generation | Non-diesel onsite generation allowed; not eligible for incentive payment or subject to penalties | Comply with local, state, and federal environmental permitting requirements | Comply with environmental permitting requirements; Consider adapting “model” output-based rules for new small on-site generators developed by national stakeholder group |
| Performance Payment | Higher of accepted bid or DA-LBMP | DA-LMP | Higher of accepted bid or DA-LMP |
| Penalties | 10% of higher of RT- or DA-LBMP assessed on under-supply of load reduction | All deviations between bid and actual settled at RT-LMP | All deviations between bid and actual settled at RT-LMP |
| Customer Baseline | Interval averages of five highest of previous 10 eligible days; optional temperature adjustment based on load 3 and 4 hours before start of event. Adjustment factor limited to 80%-120%. | Temperature-sensitive baseline: hourly averages of interval data over last 10 business days excluding response days. If DR is on-site generation, generation output is measured directly | Interval averages for a specified timeframe; temperature adjustment option available. (Further details to be discussed by NEDRI Working Group). |
| Participation in Multiple DR Programs | Eligible for ICAP payments; can participate in both EDRP and DADRP | Can’t participate in Emergency Demand Response Program | Customer can participate in both RT-EDRP and DADRP |
| ICAP Credit | See above | Yes | Yes |

- Pending FERC approval

Table 2: Comparison of “Voluntary” Emergency Demand Response Programs.

| Feature | NYISO (current) | ISO-NE (2003 proposed) | NEDRI Technical Team (proposed) |
| --- | --- | --- | --- |
| % of peak load (target or actual) | 4.5% | Not specified | 3+% |
| Program Duration | Indefinite; program reevaluated after each 6-mo. capability period | From SMD effective date through 2004 | 3 yrs, starting w/ SMD or 2003, whichever first |
| Eligible Participants | End-Users, LSEs (host and non-host), Non-Commodity Aggregators; limited membership provisions available | Exploring limited membership provisions for Demand Response Providers (i.e., non-LSE aggregators) | End-Users, LSEs, and Demand Response Providers; limited membership provisions available |
| Minimum Size | 100 kW minimum aggregation per zone | 100 kW minimum aggregation | 100 kW minimum aggregation |
| Onsite Generation | All onsite generation allowed, contingent upon environmental compliance | Comply with local, state, and federal environmental permitting requirements | Comply with environmental permitting requirements; Consider adopting “Model” output-based rules for small on-site generators developed by national stakeholder group |
| Advance Notice | 2-hour | Either 30-minute or 2-hour | Either 30-minute or 2-hour |
| Performance Payment | Higher of $500/MWh or the real time price in the customer’s geographic area (i.e., RT-LBMP) | Higher of applicable RT- Zonal price or guaranteed payment of $150/MWh minimum for 30-minute notice option, and $100/MWh minimum for 2-hr notice option | Higher of RT-LMP or $500/MWh minimum for 30-minute option or $350 minimum for 2-hr option |
| Customer Baseline | Interval averages of five highest of previous 10 eligible days; optional temperature adjustment based on load 3 and 4 hours before start of event. Adjustment factor limited to 80%-120%. | Interval averages of the previous 10 eligible days; includes temperature adjustment based on the two hours before start of event | Interval averages for a specified timeframe; temperature adjustment option available. (Further details to be determined by Working Group). |
| Participation in Multiple Programs | Dual participation allowed in ICAP, EDRP and DADRP | Can only participate in one program | Customer can participate in both DADRP and EDRP |
| ICAP Credit | NA | Yes | Yes |

# Footnotes

## ISO-NE currently offers two Load Response Programs: a Demand Response Program (known as Class 1) that compensates users for reducing consumption at ISO-NE’s direction and a Price Response Program (known as Class 2) that compensates users for monitoring and controlling their consumption in response to real-time market prices. The Demand Response Program (Class 1) has 118 MW enrolled and the voluntary Price Response program (Class 2) has 84 MW and has been called six times during 2002.

For example, over time, as the multi-settlement market becomes more robust and more retail customers are exposed to dynamic pricing, and if load side responses increase in scale, there may be less reliance on a “Day-Ahead Energy Market” program or an “Emergency Resources” type DR program.

This program strategy is discussed generically in the NEDRI Framing Paper #1: Price Responsive Load  as Option 2, May 2002.

The purpose of establishing a minimum bid price is to limit the potential for participants to make low bids (which are likely to be accepted) for periods during which planned customer facility shutdowns are to occur.

A taxonomy of CBL methods and options is developed in Xenergy (2002), Protocol Development for Demand Response Calculation: Draft Findings and Recommendations, Prepared for the California Energy Commission.  CBL methods can be characterized by three components: data selection criteria, estimation method, and adjustment method.  The report recommends as the default method to average previous ten days, and adjust based on two hours prior to the curtailment event.   The issue for DADRP program is that this adjustment may be susceptible to gaming: participants would know if their bid was accepted, and could artificially inflate load during two hours prior to curtailment.  NYISO uses a modified version of this method that caps the adjustment at 120% of unadjusted profile, which places an upper limit on any gaming opportunity.

Participants can bid both an operating cost ($/MWh) and a startup cost, but the market-clearing price is based on the operating cost.  Thus, in some cases, if the participant is only paid based on the market-clearing price, the payment may not cover the total value of their bid (operating cost plus start-up cost).  Therefore, the payment mechanism must ensure that the participant recovers the full value of their bid.

In their proposed Market Rule 1, NEPOOL has adopted this penalty mechanism for their day-ahead demand response program.  Settling deviations between actual load reductions and accepted bids at the real-time price mirrors the risk/reward structure faced by generators.  Based on survey analysis, end-use customers were deterred from participation in NYISO’s 2001 DADRP, because of the program’s penalty structure: participants were penalized for non-compliance based on 110% of the higher of real-time or day-ahead market prices.  Statistical analysis suggests that the odds of participation increase substantially for variants of program in which participants are penalized simply based on the real time price (Bernie Neenan, Memo to NYISO price responsive load working group, June 7, 2002).

This program strategy is discussed generically in the NEDRI Framing Paper #2: Demand Side Resources and Reliability.

System operators often target a capability of 3-5%.  As of August 2002, NYISO’s has more than 1,400 MW enrolled in its EDRP, equal to approximately 4.5% of system peak.

These options correspond to those adopted by NEPOOL in their proposed Market Rule 1, submitted to FERC.  Several studies discuss the varying abilities of end-users to provide rapid load response, and the corresponding importance of providing program options to accommodate these needs (e.g., ICF Consulting, Policy and Technical Issues Associated with ISO Demand Response Programs, report submitted to NARUC 2002).

Neenan Associates’ evaluation of NYISO 2001 Price Responsive Load Program found that a $500/MWh floor price helped to induce a substantial market response.  Rationale for a high floor price is also based on the value of lost load to customers or their willingness to curtail in order to prevent rotating outages; see Steve Stoft, Power System Economics for discussion of valuation issues.

A taxonomy of CBL methods and options is developed in Xenergy (2002), Protocol Development for Demand Response Calculation: Draft Findings and Recommendations, Prepared for the California Energy Commission.  CBL methods can be characterized by three components: data selection criteria, estimation method, and adjustment method.  The report recommends as the default method to average previous ten days, and adjust based on two hours prior to the curtailment event.   The issue for DADRP program is that this adjustment may be  susceptible to gaming: participants would know if their bid was accepted, and could artificially inflate load during two hours prior to curtailment.  NYISO uses a modified version of this method that caps the adjustment at 120% of unadjusted profile, which places an upper limit on any gaming opportunity.

During OP4 when Actions 2 through 5 and 7 are implemented (2-Hour Notice RTDRP), when OP4 Action 12 is implemented or when system conditions indicate that 10-minute operating reserve is deficient with calculated Voltage Reduction amounts considered as 10 minute reserve (30 minute notice).

LSEs include vertically integrated monopolies and default service providers as well as competitive retail energy service providers  (ESP) that provide electricity commodity to customers under contract.

Precisely how payments are made may, in fact, be nuanced.  For example, reserve margin (currently ICAP) credits are assigned directly to the consumer (who typically is not a market participant) rather than the LSE/DRP.  Since non-market participants cannot, by definition, sell their credits into the market, alternative means for receiving payment for the credits must be made. Presumably, the arrangement between the customer and LSE/DRP would call for the LSE/DRP to sell the credits on behalf of the customer or, alternatively, for the LSE/DRP simply to buy the credits from the customer and resell them itself (thus bearing more of the price risk).