Regional Power System Planning and Investment

Draft Chapter for NEDRI Report

Richard Sedano and Richard Cowart

January 30, 2003

- Summary:

This Chapter focuses on the challenges of regional power system planning and related system expansion policies that can be called into play to resolve reliability and congestion problems that are of regional concern.  NEDRI recommends a planning and assessment process that:

- Is regional in scope;

- Actively engages New England’s state governments;

- Is transparent to interested stakeholders and the broader public; and

- Comprehensively evaluates potential resource solutions.

NEDRI also recommends a regional power system investment policy that builds on this planning process and which:

- Leaves investment and siting decisions in the hands of market participants and state regulators wherever possible;

- Assigns cost responsibility to those who create the need for system upgrades, and who benefit from them, wherever possible;

- Permits broad-based cost recovery (regional socialization) where appropriate, but only where investments satisfy a least-cost standard of review; and

- Authorizes the same degree of assurance of cost recovery for selected least-cost solutions to grid reliability and congestion problems, including transmission, distributed resources, and demand response investments.

We conclude that these planning and investment policies would support both reliability and economic objectives for New England, and would allow demand-side solutions, including energy efficiency and price-responsive load, to deliver greater value to the region’s power system.   NEDRI recognizes that regional planning and investment policies are complex, and raise many issues and choices for decision-makers. In the NEDRI process we have not attempted to address all of those issues, but have focused on those most directly connected to the potential role of demand-side resources. Those recommendations are set out below.

- Introduction: The Role of Regional System Planning

The New England electric system functions as a regional machine. The power sources and load centers, and the power lines that connect them, operate without regard for state boundaries. A fundamental question (and challenge) for the electric industry and its regulators is: How can we maintain a reliable electric system across this region at least cost over the long term? Demand-response resources are but one component of the answer to this question, but they have a potentially important role to play in maintaining a reliable grid at reasonable cost.

Electric transmission policies have traditionally been a low-profile topic even among electric utility executives and utility regulators; and environmental professionals rarely had cause to be concerned about them, except in the rare transmission siting case. That world has changed dramatically. Since the passage of the EPACT in 1992, the FERC has been engaged in a series of complex open-access and regional market initiatives that greatly change the role of transmission in the electric system. Transmission decisions are now critically related to the nature of regional electricity markets, the environmental footprint of the electric industry, and to the future of distributed resources, including demand-side resources. Transmission is no longer just an implementation tool for utilities to deliver power within integrated franchises, but is an avenue of commerce to connect multiple generators to multiple load centers, often at great geographic distance.

In its recently-released National Transmission Grid Study (NTGS), the DOE concludes that transmission constraints increase electricity costs and decrease electric system reliability to consumers in many regions of the country. The study identifies a number of policies that could promote investments in new transmission facilities, but also notes that demand-side options can play an equally important role in delaying or avoiding the need for those investments:

Enabling customers to reduce load on the transmission system through voluntary load reduction or through targeted energy efficiency and reliance on distributed generation are important but currently underutilized approaches that could do much to address transmission bottlenecks today and delay the need for new transmission facilities.

The NTGS includes several recommendations to support demand management, price-responsive load, and energy efficiency programs. Since transmission operations and planning are done on a regional basis, the Study points out that “opportunities for customers to reduce their electrical demand voluntarily, and targeted energy-efficiency and distributed generation, should be coordinated within regional markets,” and concludes that regional planning processes “must consider transmission and non-transmission alternatives when trying to eliminate bottlenecks.”

These aspects of the NTGS echo and expand upon the positions announced by FERC in recent RTO orders and reviews. FERC has made clear its view that transmission planning, transmission adequacy, and transmission pricing should be the responsibility of the nation’s newly-emerging Regional Transmission Organizations. Thus, planning and expansion activities that have historically been conducted within state-regulated franchise utilities are now being taken up by regional transmission providers -- entities with virtually no experience with retail ratemaking, energy efficiency programs, distributed generation, or demand management.

Because most investments in transmission systems are recovered from ratepayers under regulated service rates, and because these investments often have broad societal impacts, a regional power system planning process is both necessary and desirable. A well-designed planning process can identify system needs, balance competing public interests (e.g., cost, reliability, environmental impact), and help to allocate scarce resources among potential investment choices.

The case for improved transmission system planning and investment policies in New England is not merely theoretical. The absence of an adequate system planning process has led to several serious problems, including:

- Transmission siting proposals are not timely compared with the needs they are intended to address, nor are they generally prepared with due consideration for alternatives;

- Generation is built that causes transmission congestion;

- Regional environmental concerns are not considered in a structured way;

- Customer resources are not considered a significant strategy to mitigate forecasted system needs, nor are circumstances in place to enable this consideration, except as an after-thought.

- Some resources are called forth by market forces, others by monopoly processes – these collectively address the same needs and are not coordinated.

ISO-New England currently administers a process called Regional Transmission Expansion Planning.  The ISO has taken significant steps to make this process accessible and has opened the door, at least in theory, to customer resources. While meaningful progress has been made through RTEP, we conclude that a significant change in the process is required to achieve New England’s target levels of reliability in a least cost manner.

A process that is widely understood to meet the standards set out in this Chapter would also improve the confidence of the public that the economic and environmental implications of grid investment decisions were being addressed thoughtfully. An indicator of success would be a diminishing of the “reliability crises” that emerges with some frequency, where time is “running out” and only the most direct and often most intrusive solution seems to be available to mitigate the crisis.

- Recommendations for Regional System Planning

Overview: NEDRI recommends that ISO-New England, regional market participants and states create a new regional planning entity and process.  Key elements of the planning process include:

- Government, working regionally, would have a pivotal role;

- The process would be built around identifying deficiencies in the electric grid;

- These deficiencies would be screened for reliability or severe congestion implications;

- For these situations, the planning process would assess all the solutions, alone and in combination, that could reasonably and sufficiently address the deficiency;

- The method of paying for all the solutions would be the same;

- The system operator would be relieved of the burden of balancing public policy (which it has no reliable way or standing to judge) and its technical tasks, and can concentrate on operating the system.

Recommendation 1: Create a regional entity for power system planning as a joint endeavor of the six New England states and ISO-New England.

The Regional State Advisory Council

As a starting point, NEDRI recommends creation of a Regional State Advisory Council (RSAC), a regional cooperative organization including each of the six states and ISO-New England.  In addition to planning, the organization might well take on some additional, related responsibilities. These could include rendering advisory opinions on regional needs in state siting cases, and addressing any expectation by FERC that the region will set for itself its electric resource adequacy requirement.

The ISO would have a close partnership with the RSAC.  The work of the RSAC would inform the ISO regarding the engineering analysis and planning that the ISO will continue to do.

Administration and Governance

The cost of the regional planning entity and planning process would be supported on a regional basis, recovered through the wholesale tariff of the ISO.

A model for organizing the staff is the Northwest Power Planning Council, which includes a small permanent staff, as well as state staff detailed to the organization. This is attractive compared with a fully permanent staff because it brings the states directly into the organization through its employees.

Several options for the governance of the RSAC have been considered. There is broad agreement that states should have equal representation within the governing body, with  most observers suggesting two representatives per state, providing varying skills and perspectives. Important decisions as to the qualifications of RSAC representatives, their terms of office, and the manner of their appointment and possible removal, are all issues for regional discussion and decision in each state. NEDRI makes no specific recommendation on these topics at this time.

Recommendation 2: Conduct a continuing Regional Power System Planning process to identify system needs and alternative strategies to meet them.

The principal responsibility of the RSAC should be to conduct a continuing system planning process, in which both state agencies and ISO-New England are actively engaged.

The focus of the Regional Power System Planning (RPP) process should be to identify emerging system deficiencies and attract resources to address them. This is distinct from a “proposal review” process, which would simply evaluate and react to individual proposals by project developers. Going further, the process would solicit and select system enhancements that would be advanced by market participants or supported through the ISO wholesale tariff.

Transparency would be a fundamental characteristic of the planning process.  The reasons for priorities and decisions should be publicly stated, and clear to observers.

Information for the planning process will come from market participants and individual states.  The planning process would integrate, not just sum, this information.

The planning process would be cyclical. A periodic assessment of the electric system would be produced, identifying deficiencies of varying types and urgencies. The process would focus on mitigating system deficiencies.  All opportunities to mitigate a deficiency or slow its development would be solicited and evaluated for their costs and benefits. A sufficient planning horizon (7-10 years) would be necessary to enable the aggregation of small scale resources to have a meaningful effect on a significant deficiency.

A planning horizon of this length also allows the industry (ISO, LSE, distribution companies, regulators) to prepare consumers in sensitive areas for the choices they are likely to face. Experience teaches that significant opposition to projects – even those that are truly needed to address pressing system deficits -- arises from the mistrust, surprise and fear of affected people.  A process that treats the people and communities who are asked to absorb the costs and impacts of system investments with respect will tend to inspire confidence in the needs assessment, and is less likely to produce intense project opposition.

Routinely, one round of proposals to mitigate any deficiency would occur in each planning cycle. The same deficiency may emerge in successive analyses, its condition worsening or improving depending on the combination of demand and system changes that occur in the interim.  The effect of this approach is that low-cost mitigating actions may be applied first, and higher cost actions can be delayed until they are truly needed and valuable.

One concern is what happens if a system deficiency flares up in mid-cycle.  With a sufficiently long time horizon, the chance of a surprise is minimized. A sudden change in the system (loss of a large amount of generation due to random, regulatory or other causes) can, however, can create a difficult and immediate problem to solve.  As the ISO has done in Southwest Connecticut in recent years, this sort of emergency program of acquiring resources quickly must remain a part of the toolbox.

Recommendation 3: The Regional Power System Planning process should evaluate a wide range of feasible solutions to emerging problems on an even-handed basis, including investments in generation, transmission, and demand-side options.

To anticipate and resolve transmission challenges and bottlenecks requires analysis of a range of potential solutions including transmission investments, transmission operations, strategic generation, and demand-side programs and investments. As the National Transmission Grid Study concluded,

“Expansion of the transmission system must be viewed as one strategy in a portfolio to address transmission bottlenecks; this portfolio also includes locating generation closer to loads, relying on voluntary customer load reductions, and targeting energy efficiency and distributed generation.”

ADD FERC QUOTE?

NEDRI recommends that the regional planning process employed in New England be organized and conducted with a clear capability to assess all technically feasible, reasonably-priced solutions that could meet reliability objectives. This recommendation applies to whichever planning process is employed -- the existing process, or the RSAC-guided process recommended here, or a different new process altogether. The region’s planning process should develop a complete array of potential solutions to system deficiencies, and evaluate them for their contribution to reliability and least cost objectives.

Prospective solutions may be offered by private sector competitors (merchant generation, merchant transmission, curtailment service providers), or from monopoly providers (e.g., transmission utilities, or state-organized, intensive, targeted energy efficiency programs.) The planning process should evaluate them on an equivalent basis based on how well each solution would address the deficiency. It would be at this point that the Efficient Reliability standard would operate.

- Recommendations -- Regional Power System Investment Policy

The regional system planning process outlined above provides the critical foundation for major power system enhancements. Most significantly, it will identify emerging reliability and persistent congestion problems, and evaluate potential solutions that could mitigate or resolve them. System operators have traditionally focused on supply-side resources in meeting reliability requirements for electric networks, especially in periods of stress.  However, for many system needs, there is a demand-side corollary that could perform that same service at lower cost, provided that market rules were defined to include such resources, and broad-based funding were made available to support them on the same basis as the more traditional solutions. The recommendations in this section are intended to ensure that competing grid solutions – supply, wires, and demand-side – will be treated comparably in public decision-making, and will have equal access to tariff-based funding.

Recommendation 4: Leave investment and siting decisions in the hands of market participants and state regulators wherever possible, assigning cost responsibility to those who create the need for system upgrades, and those who benefit from them.

After grid problems and potential solutions are identified in the system planning process, these results should be posted publicly so that market participants can consider what actions they might take within the existing market structure to meet emerging needs. Wherever possible, RSAC should permit market-based and state-based responses to emerge.

NEDRI supports these principles:

- The cost of investments to support a purely commercial opportunity should be borne by the developer;

- The cost of investments that support reliability needs caused by a distinct sub-area of New England should be assigned to customers or service providers in that region; and

- The cost of investments supporting the general reliability of the grid should be shared by all.

NEDRI participants recognize that assigning causes and costs to these categories is a matter of judgment as much as engineering science, but we conclude that reasonable judgments about cost-sharing can and must be made.

Public, regional intervention to promote or pay for grid solutions should be taken only where it is evident that adequate resolution is not forthcoming in the market, or that the investment in question is one that, as a matter of equity, ought to be undertaken by grid managers with cost recovery imposed through tariffs.

Recommendation 5: ISO-New England, NEPOOL, and FERC should apply an “Efficient Reliability” test, based on principles of least-cost analysis and resource parity, when considering proposals to socialize the costs of system improvements through wholesale rules and transmission tariffs.

Resource adequacy and system reliability across electric networks are classic public goods, provided to all interconnected users on essentially the same basis, and not easily withheld from any interconnected user. NEDRI believe that efficiently constructed wholesale electricity markets, including adequate demand-side bidding systems, will moderate both the volatility of markets and the degree to which reliability managers must intervene in the market to ensure reliable service.  Nevertheless, reliability and power market managers will still find it necessary to take administrative actions to promote reliability. And typically, they seek to recover the costs of these administrative actions in broad-based rates charged to all users of the grid. Two important principles apply in these cases:

- Resource parity: Energy efficiency, load management, demand-side bidding, and distributed resources – in addition to traditional generation and transmission resources -- are all potentially cost-effective means of meeting reliability needs identified by system operators and power pool managers. NEDRI recommends that when socialized cost recovery is sought, that demand-side resources be treated comparably to supply-side and wires options both in analysis and in access to funding.

- Least-cost standard: A principal criterion for selecting a solution that is qualified to receive socialized support should be whether it is the lowest-cost, reasonably available solution to an unmet system need, considered on a total cost basis.

NEDRI recommends that NEPOOL, ISO-New England, and FERC adopt the following standard as a means of screening proposals to socialize grid enhancements:

Before “socializing” the costs of a proposed reliability-enhancing investment through tariff, uplift, or other cost-sharing requirement, ISO-NE (and FERC) should require the applicant to demonstrate:

(1) That the relevant market is fully open to demand-side as well as supply-side resources;

(2) That the proposed investment is the lowest cost, reasonably-available means to correct a remaining market failure; and

(3) That benefits from the investment will be widespread, and thus appropriate for support through broad-based funding.

If this standard were adopted as a screening tool when considering proposed reliability-enhancing rules and investments, it would provide a much-needed discipline in situations where expensive wires and turbines solutions are proposed to address reliability problems, particularly where more robust, less expensive, distributed solutions may be overlooked.

In making this recommendation, it should be noted that NEDRI is not recommending that RSAC, ISO-New England, or FERC engage in comprehensive least-cost planning for the New England Power Pool or region.  Comprehensive utility planning has been put aside in most New England states in favor of increased market competition, or (in Vermont) is still practiced by local utilities under state authority.  The Efficient Reliability test is triggered only in those instances where governmental decision-makers are intervening in the market to acquire resources, such as transmission upgrades, that will be paid for through utility tariffs, and not through voluntary market prices.

Recommendation 6: Ensure comparable cost recovery opportunities for transmission and non-transmission resource solutions

The National Transmission Grid Study recommends that “(w)here possible, solutions to bottlenecks should be solicited through open, competitive processes that allow private developers to offer proposals that might encompass new transmission facilities, non-transmission alternatives, or both.”  NEDRI supports this recommendation, but we note that a major challenge in attempts to expose transmission proposals to “all-source” bids is the asymmetry in risks to investors. Transmission investors know that if a line is built in rate base or under an RTO tariff, their costs can be recovered in non-bypassable, tariffed rates. Absent an “equal access” rule, providers of non-transmission alternatives have no such option, and thus must assume a much higher set of market and investment risks.

NEDRI recommends that ISO-New England and FERC remove this asymmetry through adoption of an “equal access” or “resource parity” principle, which would provide equivalent cost-recovery opportunities for all investments that are selected through the regional planning process, and which satisfy the Efficient Reliability test set out above. Whether a grid problem is resolved through a transmission or non-transmission solution, or a combination of them, the solution should qualify for cost recovery through transmission tariffs or wholesale uplift charges on the same basis. (For a brief explanation of the steps in this process, see Appendix B, below.)

In addition, it will be important that reliability and transmission planning processes be fluid enough so that RTO analyses under the Efficient Reliability Standard are updated and revised over time. Transmission planning often takes a long time, while market-driven, economically attractive alternatives may have shorter lead times, and may appear after a “build” decision is reached on the transmission alternative. To support both competitive markets and reliability objectives, the RTO transmission planning process should allow for changes in conditions that may reveal different reliability solutions (whether demand-side resources, distributed generation, or something else). In such cases, FERC’s standards for cost recovery should encourage the “later look” and allow for cost recovery of planning and development costs when an approved transmission project is prudently curtailed in favor of a less costly alternative.

Appendix A.  Potential Added Roles and Responsibilities for a New England RSAC

Creating an RSAC with significant planning capacity provides the opportunity to assign it other responsibilities that are either not resting anywhere, or are ill-suited as they are currently organized. These are presented as opportunities requiring development, and NEDRI participants do not necessarily endorse them at this time.

- Transmission Siting.  As state siting authorities review petitions for new transmission lines, an assessment of need from a regional perspective can provide a very relevant insight that is difficult to obtain today.  This is especially valuable if the need being addressed, or the line itself, includes more than one state.

- Regional Resource Adequacy. FERC has identified the capacity market as one that merits significant reform. Its proposal in its notice of proposed rulemaking on standard market design suggests that state work as a region to make an advisory finding on the amount of excess capacity needed for the system to have sufficient reliability. FERC appears to be setting a floor for adequacy, but is trying to find ways for regions to make their own decision on appropriate adequacy levels. Even if the ISO retains the responsibility to set a resource adequacy target, the RSAC would be able to provide valuable advice and information to improve the decision.

- Congestion Monitoring. New England is currently divided into eight zones for the purposes of managing congestion through pricing.  As the system changes, these zones may change. The RSAC can provide insight and fortitude to the ISO to make changes to zone boundaries that have long run benefits, overcoming potential concerns of market participants with an interest in maintain existing zones regardless of their purpose. The RSAC may also provide useful advice concerning whether congestion mitigating regulations are having sufficient effects to discourage mis-placed generation.

- Market Power Monitoring. This organization can be a foundation for state efforts to police market power. While FERC has established a significant market monitoring unit, many state officials have suggested that their own efforts will be needed to provide sufficient confidence that exercise of market power will be discouraged because it is likely to be discovered and mitigated after the fact.

- Coordination with Gas Supply and Infrastructure. Integration of regional electricity planning with regional natural gas planning has become essential.  ISO-New England has acted on this in its recent work. Public policy trade-offs concerning the implications of increased use (and dependence) of natural gas for electric power on reliability will be better examined in a forum for discussion that does not now exist.

- Integration of Environmental Concerns. Imperatives assuring a healthy environment present constraints to the power industry and its mission. Clearly identifying these constraints allows the market to account for them completely, avoiding avoidable clashes in crisis situation.

- Technical Potential Evaluations. In considering a category of resource, it is sometimes useful to evaluate its technical potential as a resource.  States conduct studies of energy efficiency potential, wind potential.  There is certainly some back of the envelope assessments of natural gas potential at various pipeline expansion configurations.  The RSAC could be a valuable source of unbiased information on reasonable expectations for classes of resources to be available to address system deficiencies.

- Analysis and Support for Innovative Solutions.  Some emerging problems, such as an area of persistent growth, may be a particularly appropriate target for innovative regulatory approaches, such as intensive deployment of customer resources, or rate designs designed to influence consumption patterns. The RSAC could perform a valuable role in identifying such opportunities, providing information to state regulators about them, and assisting state regulators to understand the regional implications of potential policy choices

- Public Benefit Co-ordination. Though drifting away from system operation, the presence of a regional organization may create the opportunity for co-ordination of state-directed efforts in energy efficiency and renewable energy that may be more efficiently deployed with a regional focus. Northeast Energy Efficiency Partnerships already acts to co-ordinate some energy efficiency programs for service providers in several New England states, and there have been suggestions that co-ordinating deployment of state renewable research and development funds would also be effective.

Appendix B.  Planning Process Example

Setting: In doing a system assessment, the fictional city of Altoid presents a concern.

While the current load/resource balance is acceptable, at loads 10% higher than current summer peak, if a major feeder were out (as it could be for maintenance), a second contingency failure (two separate generators in the area going out) would present an unacceptably high probability (still very low) that area voltage could collapse. In this situation, operators would be forced to shed load in Altoid before that happened. At present forecasts (including the effects of current energy efficiency programs), a 10% increase in load will occur in seven years. This presents an identified deficiency.

Upon identifying this deficiency, the planning process receives proposals to address this problem from transmission and generation companies.  It also hears from the local energy efficiency provider through a state regulatory process that a more intensive effort (priced out to be less expensive than the generation and transmission solutions) would delay the planned 10% increase by five years.  Other demand-related proposals add an additional three years, so the total demand-related package moves the forecasted “need date” from seven to fifteen years out.

Regional transmission/reliability policy provides that a transmission upgrade to address the Altoid deficiency would be recoverable in transmission tariffs. Therefore, under the efficient reliability standard, the same treatment is accorded to the non-transmission solution. With assurances that the state regulators will sign off on more intense energy efficiency services targeted at Altoid, the commitment of wholesale tariff funding is made. Because of the original deficiency, the ISO tariff would be authorized to support the cost of the demand-related measures, achieving the objective of parity among resources.

The issue of cost allocation would remain in this situation, as for the traditional transmission option. Decision-makers (RSAC, ISO-New England, and FERC) would need to assess whether all New England consumers should support these costs, or whether customers only in Altoid’s zone should pay. The planning process does not answer this question; the key point is that the same cost allocation rules should apply to transmission and non-transmission solutions.

Over time, the ISO can monitor the deployment of the customer resources with sufficient opportunity to raise an alarm if the solution is not operating to expectations. This is similar to the oversight expected for grid-supported generation or transmission solutions to power system deficiencies.

# Footnotes

US Department of Energy, National Transmission Grid Study (May 2002) at p.41 (hereinafter NTGS).

The DOE study includes many of the topics under discussion within NEDRI -- demand-side bidding, price-responsive load, advanced metering, demand-side participation in ancillary service markets, increased support for energy efficiency programs, and regulatory policies to eliminate utility disincentives to efficiency and distributed generation. See NTGS pp. 41-45.

NTGS p. xiii (emphasis added).

Recent FERC orders refer to these regional organizations as Independent Transmission Providers (ITPs). The change in nomenclature does not affect the FERC’s expectation that regional transmission entities will be responsible for transmission adequacy and expansion planning.

The sums involved can be quite substantial, and unlike the costs of competitive generation, are proposed for collection in non-bypassable tariffs. NEDRI participants are aware of the significant transmission investment proposals now pending in the region, totaling well over one billion dollars.  If these transmission investments are made, the costs will ultimately be borne by electric ratepayers, however they are assigned throughout the region.

Over the past few years, new generation was sited in Maine to take advantage of siting opportunities and new natural gas supplies. It was foreseeable that more generation was proposed there than could be used for Maine’s needs, or moved out of the state via the existing transmission system. While there is no reliability problem in Maine, an economic congestion results, with low-running cost power in Maine not running, while higher cost generation elsewhere in New England does run. Generation in Maine is said to be “locked in” and cannot be fully used to address reliability needs elsewhere in the region.

Customer resources include consumer-funded energy efficiency, customer-sited generation, and demand response programs.  They may also include regulatory pricing strategies or rate designs designed to induce customers to avoid energy use or shift the time of its use. Building codes and appliance and equipment standards can also be viewed as resources that can help to resolve reliability and congestion problems.

As with many similar efforts, the name itself (Regional Transmission Expansion Planning) underscores a limitation in the way the task is defined, and the need to launch a planning effort that is open to both transmission and non-transmission solutions to power system challenges.

Much is often made of new names for proposed organizations.  The ISO has announced its intention to become as RTO, which may eventually morph into an ITP. FERC has suggested RSAC, NGA has suggested MSE.  RSAC is used here as much to encourage creating a new vision for how regional planning and other activities can be organized. Readers are urged to avoid getting to attached to any group of letters.

For a brief list of possible roles, see Appendix A, below.

While the precise name is not critical, the concept is. Most discussion of this sort come under the heading of “transmission planning,” “transmission expansion,” or “grid enhancement.” Such terminology excludes, or at best minimizes, the role that non-transmission alternatives may play in resolving reliability and congestion challenges. A critical feature of the planning process recommended here is that it will openly consider non-traditional transmission actions, and supply-side and customer-located resources as potential lower-cost solutions to power system problems.

A symptom of this condition is queuing – the current ISO-New England practice of treating all project fairly by reviewing them in the general order their qualified application is complete. Relationships among projects to address common needs can be overlooked.

Other transmission, generation, or demand side investments in the system may be desirable from a purely economic (non-reliability) perspective.  These can be developed on a “merchant” basis.

NEDRI participants conclude that an annual cycle is unlikely to provide sufficient time for all the necessary analysis.  An appropriate period between system assessments, perhaps two years, would be used based on realistic assessments of the tasks.

Comparing different resource mixes to resolve grid problems is an emerging art. This paper is based on the idea that the solution menu would be complete, and that the relevant aspects of each potential solution to solve reliability and system problems would also be considered. For example, an assessment of the persistence of the solution (will it be there?), the variability (will it change?) and reliability (will it be what the system operator expects when it is called?) is appropriate.  Probabalistic approaches will enhance the results, but in any case, the method for evaluation should be sufficiently supported.

NTGS at p.51. For the range of options considered, see NTGS at pp33-38 (operations), pp41-45 (demand-side and distributed generation), pp61-67 (advanced technologies), pp50-60 (transmission investment and siting).

Intensive energy efficiency means that programs with higher screening costs are deployed, justified by higher long run avoided costs driven by growth and reliability needs. It could also mean expanding the eligible services or population from what is otherwise generally available.

See Recommendation 5 below.

There are a number of key market and policy conditions that would provide a foundation for solutions to emerge without regional intervention. Some, like region-wide locational marginal pricing, are outside the scope of NEDRI’s work. Others, such as creating markets for price-responsive load, and ensuring resource adequacy eligibility for demand-side resources, are taken up in other sections of the NEDRI report.

It is important to recognize that different solutions will bring different values to this analysis. Demand-side solutions will often lower line losses and distribution costs, and will likely deliver power cost and environmental savings, as well as the grid enhancements being sought. Grid planners should consider all of these costs and savings when considering the net project costs of demand-side option. A further question is whether non-electric societal values (air quality, water quality and supply, for example) would factor in. NEDRI supports some inclusion of societal values and would rely on the RSAC to articulate how to do that.

There are likely to be desirable features to a form of indicative planning or “guidance planning” by the RSAC on topics such as resource diversity, resource adequacy, and congestion avoidance,  but this is not the topic here. As noted in the text, the Efficient Reliability test focuses on securing the least-cost, reasonably available investment to solve a public problem that is going to be paid for by the public.

NTGS at p.52.

An important option to consider is an “open season” bidding process to meet system needs, in which all winning bidders are given the same access to the tariff to return their costs. However, even in the absence of an open season, a proposed planned solution (such as a planned transmission upgrade) can provide a “price to beat” for non-transmission alternatives. Those who commit to provide a grid solution through other means should be given the same access to socialized funding as those who propose to use that funding for transmission upgrades.

Adequacy is used here to represent the aspect of reliability regarding having adequate capacity to meet customer demand given reasonable contingencies very nearly all the time.